## Cover
Cool experiments and tools for hobbyists and
future professionals
Tutorial on YouTube!
Cool Tool: | Solar Generator & Battery Dimensioning
Dimensioning
Real Life Experience and Comparison
Examples with Micro-Processor-Boards
Version 15.11.2021 (minor graphics corrections)
Version 05.11.2021 (error corrections)
Version 01.06.2021
Further distribution without changes is permitted

## 1 Pan - Best Case
What size is right?
How much Energy can I expect?
Dimension a small Solar Generator
see YouTube Tutorial!
Scenario:
Best Case with 1 Solar Cell | Inputs |  |  | Results w/o Solar Charge | [5 empty] | Results with Solar Charge | [5 empty] | Calculation
[18 empty] | Charge Var pm | 0 | mAh equals |  | days of not expected irregular weather per month
Power Generation | Solar Panel Information | [5 empty] | Solar Panel Rating
[13 empty] | Opt. Panel |  | My Panel | My Panel | My total | My Charge |  |  | My Charge |  |  | My Charge
measure with multimeter | Nominal Voltage | 5 | V | [8 empty] | Month | Max Harvest |  | Harvest | Harvest | Consumption | Flow | Min Flow | Max Flow | State 1 | Min State 1 | Max State 1 | State 2 | Min State 2 | Max State 2
measure with multimeter | Maximum Current in the Sun | 125 | mA |  |  |  | est. Peak Power | 625 | mW |  |  | Month | kWh/kWp | % | mWh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh
measure with multimeter | Solar Panel Area | 44 | cm2 |  |  |  | Good Reference (200W/m2) Comparison | 880 | mW |  |  | 2020-01-31 | 51.5646 | 3.998% | 18563.2494 | 5017.0944 | 4622.0493 | 395.0451 | 395.0451 | 395.0451 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2020-02-29 | 87.2738 | 6.767% | 31418.559 | 8491.5024 | 4622.0493 | 3869.4531 | 3869.4531 | 3869.4531 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2020-03-31 | 113.3777 | 8.791% | 40815.9741 | 11031.3444 | 4622.0493 | 6409.295 | 6409.295 | 6409.295 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2020-04-30 | 147.2324 | 11.42% | 53003.6811 | 14325.3192 | 4622.0493 | 9703.2699 | 9703.2699 | 9703.2699 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Latitude, Country | Solar Country Conditions | [5 empty] | Solar Country Conditions |  |  |  |  | 2020-05-31 | 132.4153 | 10.27% | 47669.5075 | 12883.6507 | 4622.0493 | 8261.6013 | 8261.6013 | 8261.6013 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
see Internet: | [11 empty] | 2020-06-30 | 136.205 | 10.56% | 49033.8139 | 13252.3821 | 4622.0493 | 8630.3328 | 8630.3328 | 8630.3328 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Solar Monthly Harvesting | Monthly Yield in kWh per kWp | [10 empty] | 2020-07-31 | 147.6149 | 11.45% | 53141.3811 | 14362.5354 | 4622.0493 | 9740.4861 | 9740.4861 | 9740.4861 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWh per kWp | Jan | 51.5646 | kWh/kWp | [8 empty] | 2020-08-31 | 136.9498 | 10.62% | 49301.9134 | 13324.8415 | 4622.0493 | 8702.7921 | 8702.7921 | 8702.7921 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWp = Kilowattpeak | Feb | 87.2738 | kWh/kWp | [8 empty] | 2020-09-30 | 131.0589 | 10.16% | 47181.2157 | 12751.6799 | 4622.0493 | 8129.6306 | 8129.6306 | 8129.6306 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Mar | 113.3777 | kWh/kWp | [8 empty] | 2020-10-31 | 86.2579 | 6.688% | 31052.8602 | 8392.6649 | 4622.0493 | 3770.6156 | 3770.6156 | 3770.6156 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Apr | 147.2324 | kWh/kWp | [8 empty] | 2020-11-30 | 57.3939 | 4.45% | 20661.8186 | 5584.2753 | 4622.0493 | 962.226 | 962.226 | 962.226 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Mai | 132.4153 | kWh/kWp | [8 empty] | 2020-12-31 | 62.3431 | 4.834% | 22443.522 | 6065.8168 | 4622.0493 | 1443.7674 | 1443.7674 | 1443.7674 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Jun | 136.205 | kWh/kWp | [8 empty] | 2021-01-31 | 51.5646 | 3.998% | 18563.2494 | 5017.0944 | 4622.0493 | 395.0451 | 395.0451 | 395.0451 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Jul | 147.6149 | kWh/kWp | [8 empty] | 2021-02-28 | 87.2738 | 6.767% | 31418.559 | 8491.5024 | 4622.0493 | 3869.4531 | 3869.4531 | 3869.4531 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Aug | 136.9498 | kWh/kWp | [8 empty] | 2021-03-31 | 113.3777 | 8.791% | 40815.9741 | 11031.3444 | 4622.0493 | 6409.295 | 6409.295 | 6409.295 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Sep | 131.0589 | kWh/kWp | [8 empty] | 2021-04-30 | 147.2324 | 11.42% | 53003.6811 | 14325.3192 | 4622.0493 | 9703.2699 | 9703.2699 | 9703.2699 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Okt | 86.2579 | kWh/kWp | [8 empty] | 2021-05-31 | 132.4153 | 10.27% | 47669.5075 | 12883.6507 | 4622.0493 | 8261.6013 | 8261.6013 | 8261.6013 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Nov | 57.3939 | kWh/kWp | [8 empty] | 2021-06-30 | 136.205 | 10.56% | 49033.8139 | 13252.3821 | 4622.0493 | 8630.3328 | 8630.3328 | 8630.3328 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Dez | 62.3431 | kWh/kWp | [8 empty] | 2021-07-31 | 147.6149 | 11.45% | 53141.3811 | 14362.5354 | 4622.0493 | 9740.4861 | 9740.4861 | 9740.4861 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-08-31 | 136.9498 | 10.62% | 49301.9134 | 13324.8415 | 4622.0493 | 8702.7921 | 8702.7921 | 8702.7921 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Total | 1289.6875 | kWh/kWp | [8 empty] | 2021-09-30 | 131.0589 | 10.16% | 47181.2157 | 12751.6799 | 4622.0493 | 8129.6306 | 8129.6306 | 8129.6306 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-10-31 | 86.2579 | 6.688% | 31052.8602 | 8392.6649 | 4622.0493 | 3770.6156 | 3770.6156 | 3770.6156 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-11-30 | 57.3939 | 4.45% | 20661.8186 | 5584.2753 | 4622.0493 | 962.226 | 962.226 | 962.226 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-12-31 | 62.3431 | 4.834% | 22443.522 | 6065.8168 | 4622.0493 | 1443.7674 | 1443.7674 | 1443.7674 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Local Circumstances | Schading from Obstacles | [5 empty] | Schading from Obstacles |  |  |  | Battery State of Charge over 2 Years
see Site: | Shading (0% = total, 100% = no shading) | 72% |  |  |  |  | Energy Harvest possible at Location | 72%
https://www.sonnenverlauf.de | [6 empty] | Energy Harvest lost by Shading at Location | 28%
check sunrise and sunset directions
etimate shading for worst month
Converter | Charge Converter Information | [5 empty] | Charge Converter Rating
supplier informatin or estimate | Efficiency (typically > 0,8) | 0.8 |  |  |  |  | Maximum Loss | 125 | mW
Energy Storage | Battery Information | Li Ion |  | Battery Rating
supplier information | Voltage | 3.7 | V | Energy | 8510 | mWh
supplier information | Capacity | 2300 | mAh | Internal Discharge Current | 0.1484 | mA
your choice | Initial Battery Charge | 2000 | mAh
supplier information | Battery Internal Discharge per year | 1300 | mAh/y
Energy Consumption | Consumers Information |  |  | Consumers Ratings
Charge Flow over 2 Years
supplier info or measurement | MicroProcessor Active Mode | 50 | mA | MicroProcessor Active per Hour | 0.33333 | min
supplier info or measurement | MicroProcessor Sleep Mode | 6 | mA | MicroProcessor Sleep Mode per Hour | 59.6667 | min
supplier info or measurement | Transceiver | 80 | mA | Transceiver Acitve per Hour | 0.02 | min
your oown code | MicroProcessor Active Period | 1 | Sec | MicroProcessor Active Period Consumption per Hour | 0.27778 | mAh
supplier info or measurement | Transceiver Active Period | 0.06 | Sec | MicroProcessor Sleep Mode Consumption per Hour | 5.9667 | mAh
|  |  |  | Transceiver Active Period Consumption per Hour | 0.026667 | mAh
|  |  |  | Battery Internal Discharge per Hour | 0.1484 | mAh
your oown code | Active Cycles per Hour | 20 | pH
|  |  |  | Total Consumption per Hour | 6.4195 | mAh
|  |  |  | Total Consumption per Day | 154.0683 | mAh
|  |  |  | Total Consumption per Month | 4622.0493 | mAh
|  |  |  | Total Consumption per Year | 56273.4504 | mAh
|  |  |  | Total Consumption per Hour | 23.7522 | mWh
|  |  |  | Total Consumption per Day | 570.0527 | mWh
|  |  |  | Total Consumption per Month | 17101.5825 | mWh
|  |  |  | Total Consumption per Year | 208211.7665 | mWh
|  |  |  | Maximum Runtime on Battery Charge in Hours | 358.2826 | h
|  |  |  | Total Runtime on Battery in Days | 14.9284 | Tage
Additional Information:
|  |  |  | Duty Cycle of the Tranceiver | 0.033333 | %
|  |  |  | Tranceiver Use per Day (TTN Fair Use is 30 Sec per Day) | 28.8 | Sek
Weather Variation | Variation Simulation |  |  | Consumption Equivalent in Days
estimate from your own perceptions | Energy for no Charge Days per month | 0 | mAh | Consumption Equivalent with no Charge | 0 | Days
Over all uncertainties estimate | Uncertainty , degradation, etc | 0 | %

## 2 Pan - Worst Case
What size is right?
How much Energy can I expect?
Dimension a small Solar Generator
see YouTube Tutorial!
Scenario:
Worst Case with 2 Solar Cells | Inputs |  |  | Results w/o Solar Charge | [5 empty] | Results with Solar Charge | [5 empty] | Calculation
[18 empty] | Charge Var pm | 0 | mAh equals |  | days of not expected irregular weather per month
Power Generation | Solar Panel Information | [5 empty] | Solar Panel Rating
[13 empty] | Opt. Panel |  | My Panel | My Panel | My total | My Charge |  |  | My Charge |  |  | My Charge
measure with multimeter | Nominal Voltage | 5 | V | [8 empty] | Month | Max Harvest |  | Harvest | Harvest | Consumption | Flow | Min Flow | Max Flow | State 1 | Min State 1 | Max State 1 | State 2 | Min State 2 | Max State 2
measure with multimeter | Maximum Current in the Sun | 250 | mA |  |  |  | est. Peak Power | 1250 | mW |  |  | Month | kWh/kWp | % | mWh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh
measure with multimeter | Solar Panel Area | 88 | cm2 |  |  |  | Good Reference (200W/m2) Comparison | 1760 | mW |  |  | 2020-01-31 | 16.3495 | 2.249% | 11771.6202 | 3181.519 | 4622.0493 | -1440.5304 | -1440.5304 | -1440.5304 | 559.4696 | 559.4696 | 559.4696 | 559.4696 | 559.4696 | 559.4696
[12 empty] | 2020-02-29 | 26.5958 | 3.658% | 19148.9644 | 5175.3958 | 4622.0493 | 553.3465 | 553.3465 | 553.3465 | 1112.8161 | 1112.8161 | 1112.8161 | 1112.8161 | 1112.8161 | 1112.8161
[12 empty] | 2020-03-31 | 73.8211 | 10.15% | 53151.1833 | 14365.1847 | 4622.0493 | 9743.1354 | 9743.1354 | 9743.1354 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2020-04-30 | 80.1997 | 11.03% | 57743.8155 | 15606.4366 | 4622.0493 | 10984.3873 | 10984.3873 | 10984.3873 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Latitude, Country | Solar Country Conditions | [5 empty] | Solar Country Conditions |  |  |  |  | 2020-05-31 | 91.9979 | 12.65% | 66238.4582 | 17902.286 | 4622.0493 | 13280.2367 | 13280.2367 | 13280.2367 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
see Internet: | [11 empty] | 2020-06-30 | 69.5675 | 9.569% | 50088.5668 | 13537.4505 | 4622.0493 | 8915.4012 | 8915.4012 | 8915.4012 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Solar Monthly Harvesting | Monthly Yield in kWh per kWp | [10 empty] | 2020-07-31 | 89.7625 | 12.35% | 64628.9926 | 17467.2953 | 4622.0493 | 12845.246 | 12845.246 | 12845.246 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWh per kWp | Jan | 16.3495 | kWh/kWp | [8 empty] | 2020-08-31 | 102.0031 | 14.03% | 73442.2281 | 19849.2508 | 4622.0493 | 15227.2015 | 15227.2015 | 15227.2015 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWp = Kilowattpeak | Feb | 26.5958 | kWh/kWp | [8 empty] | 2020-09-30 | 71.2821 | 9.804% | 51323.1099 | 13871.1108 | 4622.0493 | 9249.0615 | 9249.0615 | 9249.0615 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Mar | 73.8211 | kWh/kWp | [8 empty] | 2020-10-31 | 52.2886 | 7.192% | 37647.7579 | 10175.0697 | 4622.0493 | 5553.0204 | 5553.0204 | 5553.0204 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Apr | 80.1997 | kWh/kWp | [8 empty] | 2020-11-30 | 30.1821 | 4.151% | 21731.1348 | 5873.2797 | 4622.0493 | 1251.2303 | 1251.2303 | 1251.2303 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Mai | 91.9979 | kWh/kWp | [8 empty] | 2020-12-31 | 22.9966 | 3.163% | 16557.5601 | 4475.0162 | 4622.0493 | -147.0331 | -147.0331 | -147.0331 | 2152.9669 | 2152.9669 | 2152.9669 | 2152.9669 | 2152.9669 | 2152.9669
| Jun | 69.5675 | kWh/kWp | [8 empty] | 2021-01-31 | 16.3495 | 2.249% | 11771.6202 | 3181.519 | 4622.0493 | -1440.5304 | -1440.5304 | -1440.5304 | 712.4366 | 712.4366 | 712.4366 | 712.4366 | 712.4366 | 712.4366
| Jul | 89.7625 | kWh/kWp | [8 empty] | 2021-02-28 | 26.5958 | 3.658% | 19148.9644 | 5175.3958 | 4622.0493 | 553.3465 | 553.3465 | 553.3465 | 1265.783 | 1265.783 | 1265.783 | 1265.783 | 1265.783 | 1265.783
| Aug | 102.0031 | kWh/kWp | [8 empty] | 2021-03-31 | 73.8211 | 10.15% | 53151.1833 | 14365.1847 | 4622.0493 | 9743.1354 | 9743.1354 | 9743.1354 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Sep | 71.2821 | kWh/kWp | [8 empty] | 2021-04-30 | 80.1997 | 11.03% | 57743.8155 | 15606.4366 | 4622.0493 | 10984.3873 | 10984.3873 | 10984.3873 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Okt | 52.2886 | kWh/kWp | [8 empty] | 2021-05-31 | 91.9979 | 12.65% | 66238.4582 | 17902.286 | 4622.0493 | 13280.2367 | 13280.2367 | 13280.2367 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Nov | 30.1821 | kWh/kWp | [8 empty] | 2021-06-30 | 69.5675 | 9.569% | 50088.5668 | 13537.4505 | 4622.0493 | 8915.4012 | 8915.4012 | 8915.4012 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Dez | 22.9966 | kWh/kWp | [8 empty] | 2021-07-31 | 89.7625 | 12.35% | 64628.9926 | 17467.2953 | 4622.0493 | 12845.246 | 12845.246 | 12845.246 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-08-31 | 102.0031 | 14.03% | 73442.2281 | 19849.2508 | 4622.0493 | 15227.2015 | 15227.2015 | 15227.2015 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Total | 727.0464 | kWh/kWp | [8 empty] | 2021-09-30 | 71.2821 | 9.804% | 51323.1099 | 13871.1108 | 4622.0493 | 9249.0615 | 9249.0615 | 9249.0615 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-10-31 | 52.2886 | 7.192% | 37647.7579 | 10175.0697 | 4622.0493 | 5553.0204 | 5553.0204 | 5553.0204 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-11-30 | 30.1821 | 4.151% | 21731.1348 | 5873.2797 | 4622.0493 | 1251.2303 | 1251.2303 | 1251.2303 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-12-31 | 22.9966 | 3.163% | 16557.5601 | 4475.0162 | 4622.0493 | -147.0331 | -147.0331 | -147.0331 | 2152.9669 | 2152.9669 | 2152.9669 | 2152.9669 | 2152.9669 | 2152.9669
Local Circumstances | Schading from Obstacles | [5 empty] | Schading from Obstacles |  |  |  | Battery State of Charge over 2 Years
see Site: | Shading (0% = total, 100% = no shading) | 72% |  |  |  |  | Energy Harvest possible at Location | 72%
https://www.sonnenverlauf.de | [6 empty] | Energy Harvest lost by Shading at Location | 28%
check sunrise and sunset directions
etimate shading for worst month
Converter | Charge Converter Information | [5 empty] | Charge Converter Rating
supplier informatin or estimate | Efficiency (typically > 0,8) | 0.8 |  |  |  |  | Maximum Loss | 250 | mW
Energy Storage | Battery Information | Li Ion |  | Battery Rating
supplier information | Voltage | 3.7 | V | Energy | 8510 | mWh
supplier information | Capacity | 2300 | mAh | Internal Discharge Current | 0.1484 | mA
your choice | Initial Battery Charge | 2000 | mAh
supplier information | Battery Internal Discharge per year | 1300 | mAh/y
Energy Consumption | Consumers Information |  |  | Consumers Ratings
Charge Flow over 2 Years
supplier info or measurement | MicroProcessor Active Mode | 50 | mA | MicroProcessor Active per Hour | 0.33333 | min
supplier info or measurement | MicroProcessor Sleep Mode | 6 | mA | MicroProcessor Sleep Mode per Hour | 59.6667 | min
supplier info or measurement | Transceiver | 80 | mA | Transceiver Acitve per Hour | 0.02 | min
your oown code | MicroProcessor Active Period | 1 | Sec | MicroProcessor Active Period Consumption per Hour | 0.27778 | mAh
supplier info or measurement | Transceiver Active Period | 0.06 | Sec | MicroProcessor Sleep Mode Consumption per Hour | 5.9667 | mAh
|  |  |  | Transceiver Active Period Consumption per Hour | 0.026667 | mAh
|  |  |  | Battery Internal Discharge per Hour | 0.1484 | mAh
your oown code | Active Cycles per Hour | 20 | pH
|  |  |  | Total Consumption per Hour | 6.4195 | mAh
|  |  |  | Total Consumption per Day | 154.0683 | mAh
|  |  |  | Total Consumption per Month | 4622.0493 | mAh
|  |  |  | Total Consumption per Year | 56273.4504 | mAh
|  |  |  | Total Consumption per Hour | 23.7522 | mWh
|  |  |  | Total Consumption per Day | 570.0527 | mWh
|  |  |  | Total Consumption per Month | 17101.5825 | mWh
|  |  |  | Total Consumption per Year | 208211.7665 | mWh
|  |  |  | Maximum Runtime on Battery Charge in Hours | 358.2826 | h
|  |  |  | Total Runtime on Battery in Days | 14.9284 | Tage
Additional Information:
|  |  |  | Duty Cycle of the Tranceiver | 0.033333 | %
|  |  |  | Tranceiver Use per Day (TTN Fair Use is 30 Sec per Day) | 28.8 | Sek
Weather Variation | Variation Simulation |  |  | Consumption Equivalent in Days
estimate from your own perceptions | Energy for no Charge Days per month | 0 | mAh | Consumption Equivalent with no Charge | 0 | Days
Over all uncertainties estimate | Uncertainty , degradation, etc | 0 | %

## 2 Pan - Av Case - 44% Var
What size is right?
How much Energy can I expect?
Dimension a small Solar Generator
see YouTube Tutorial!
Scenario:
Average Case with 45% Variation | Inputs |  |  | Results w/o Solar Charge | [5 empty] | Results with Solar Charge | [5 empty] | Calculation
[18 empty] | Charge Var pm | 0 | mAh equals |  | days of not expected irregular weather per month
Power Generation | Solar Panel Information | [5 empty] | Solar Panel Rating
[13 empty] | Opt. Panel |  | My Panel | My Panel | My total | My Charge |  |  | My Charge |  |  | My Charge
measure with multimeter | Nominal Voltage | 5 | V | [8 empty] | Month | Max Harvest |  | Harvest | Harvest | Consumption | Flow | Min Flow | Max Flow | State 1 | Min State 1 | Max State 1 | State 2 | Min State 2 | Max State 2
measure with multimeter | Maximum Current in the Sun | 250 | mA |  |  |  | est. Peak Power | 1250 | mW |  |  | Month | kWh/kWp | % | mWh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh
measure with multimeter | Solar Panel Area | 88 | cm2 |  |  |  | Good Reference (200W/m2) Comparison | 1760 | mW |  |  | 2020-01-31 | 34.6915 | 3.468% | 24977.8556 | 6750.7718 | 4622.0493 | 2128.7225 | -841.6171 | 5099.062 | 2300 | 1158.3829 | 2300 | 2300 | 1158.3829 | 2300
[12 empty] | 2020-02-29 | 54.8855 | 5.487% | 39517.5437 | 10680.4172 | 4622.0493 | 6058.3679 | 1358.9843 | 10757.7515 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2020-03-31 | 92.6338 | 9.26% | 66696.336 | 18026.0368 | 4622.0493 | 13403.9874 | 5472.5313 | 21335.4436 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2020-04-30 | 111.1931 | 11.12% | 80059.0116 | 21637.5707 | 4622.0493 | 17015.5214 | 7494.9903 | 26536.0525 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Latitude, Country | Solar Country Conditions | [5 empty] | Solar Country Conditions |  |  |  |  | 2020-05-31 | 114.3583 | 11.43% | 82337.9988 | 22253.5132 | 4622.0493 | 17631.4639 | 7839.9181 | 27423.0097 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
see Internet: | [11 empty] | 2020-06-30 | 111.5097 | 11.15% | 80286.9544 | 21699.1769 | 4622.0493 | 17077.1276 | 7529.4897 | 26624.7654 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Solar Monthly Harvesting | Monthly Yield in kWh per kWp | [10 empty] | 2020-07-31 | 119.4398 | 11.94% | 85996.6276 | 23242.3318 | 4622.0493 | 18620.2825 | 8393.6565 | 28846.9085 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWh per kWp | Jan | 34.6915 | kWh/kWp | [8 empty] | 2020-08-31 | 117.6041 | 11.76% | 84674.9698 | 22885.127 | 4622.0493 | 18263.0776 | 8193.6218 | 28332.5335 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWp = Kilowattpeak | Feb | 54.8855 | kWh/kWp | [8 empty] | 2020-09-30 | 97.6968 | 9.766% | 70341.6703 | 19011.2623 | 4622.0493 | 14389.2129 | 6024.2575 | 22754.1683 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Mar | 92.6338 | kWh/kWp | [8 empty] | 2020-10-31 | 69.361 | 6.934% | 49939.9194 | 13497.2755 | 4622.0493 | 8875.2262 | 2936.425 | 14814.0274 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Apr | 111.1931 | kWh/kWp | [8 empty] | 2020-11-30 | 40.3346 | 4.032% | 29040.9103 | 7848.8947 | 4622.0493 | 3226.8454 | -226.6683 | 6680.359 | 2300 | 2073.3317 | 2300 | 2300 | 2073.3317 | 2300
| Mai | 114.3583 | kWh/kWp | [8 empty] | 2020-12-31 | 36.6508 | 3.664% | 26388.5799 | 7132.0486 | 4622.0493 | 2509.9993 | -628.1021 | 5648.1007 | 2300 | 1445.2296 | 2300 | 2300 | 1445.2296 | 2300
| Jun | 111.5097 | kWh/kWp | [8 empty] | 2021-01-31 | 34.6915 | 3.468% | 24977.8556 | 6750.7718 | 4622.0493 | 2128.7225 | -841.6171 | 5099.062 | 2300 | 603.6125 | 2300 | 2300 | 603.6125 | 2300
| Jul | 119.4398 | kWh/kWp | [8 empty] | 2021-02-28 | 54.8855 | 5.487% | 39517.5437 | 10680.4172 | 4622.0493 | 6058.3679 | 1358.9843 | 10757.7515 | 2300 | 1962.5968 | 2300 | 2300 | 1962.5968 | 2300
| Aug | 117.6041 | kWh/kWp | [8 empty] | 2021-03-31 | 92.6338 | 9.26% | 66696.336 | 18026.0368 | 4622.0493 | 13403.9874 | 5472.5313 | 21335.4436 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Sep | 97.6968 | kWh/kWp | [8 empty] | 2021-04-30 | 111.1931 | 11.12% | 80059.0116 | 21637.5707 | 4622.0493 | 17015.5214 | 7494.9903 | 26536.0525 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Okt | 69.361 | kWh/kWp | [8 empty] | 2021-05-31 | 114.3583 | 11.43% | 82337.9988 | 22253.5132 | 4622.0493 | 17631.4639 | 7839.9181 | 27423.0097 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Nov | 40.3346 | kWh/kWp | [8 empty] | 2021-06-30 | 111.5097 | 11.15% | 80286.9544 | 21699.1769 | 4622.0493 | 17077.1276 | 7529.4897 | 26624.7654 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Dez | 36.6508 | kWh/kWp | [8 empty] | 2021-07-31 | 119.4398 | 11.94% | 85996.6276 | 23242.3318 | 4622.0493 | 18620.2825 | 8393.6565 | 28846.9085 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-08-31 | 117.6041 | 11.76% | 84674.9698 | 22885.127 | 4622.0493 | 18263.0776 | 8193.6218 | 28332.5335 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Total | 1000.3589 | kWh/kWp | [8 empty] | 2021-09-30 | 97.6968 | 9.766% | 70341.6703 | 19011.2623 | 4622.0493 | 14389.2129 | 6024.2575 | 22754.1683 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-10-31 | 69.361 | 6.934% | 49939.9194 | 13497.2755 | 4622.0493 | 8875.2262 | 2936.425 | 14814.0274 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-11-30 | 40.3346 | 4.032% | 29040.9103 | 7848.8947 | 4622.0493 | 3226.8454 | -226.6683 | 6680.359 | 2300 | 2073.3317 | 2300 | 2300 | 2073.3317 | 2300
[12 empty] | 2021-12-31 | 36.6508 | 3.664% | 26388.5799 | 7132.0486 | 4622.0493 | 2509.9993 | -628.1021 | 5648.1007 | 2300 | 1445.2296 | 2300 | 2300 | 1445.2296 | 2300
Local Circumstances | Schading from Obstacles | [5 empty] | Schading from Obstacles |  |  |  | Battery State of Charge over 2 Years
see Site: | Shading (0% = total, 100% = no shading) | 72% |  |  |  |  | Energy Harvest possible at Location | 72%
https://www.sonnenverlauf.de | [6 empty] | Energy Harvest lost by Shading at Location | 28%
check sunrise and sunset directions
etimate shading for worst month
Converter | Charge Converter Information | [5 empty] | Charge Converter Rating
supplier informatin or estimate | Efficiency (typically > 0,8) | 0.8 |  |  |  |  | Maximum Loss | 250 | mW
Energy Storage | Battery Information | Li Ion |  | Battery Rating
supplier information | Voltage | 3.7 | V | Energy | 8510 | mWh
supplier information | Capacity | 2300 | mAh | Internal Discharge Current | 0.1484 | mA
your choice | Initial Battery Charge | 2000 | mAh
supplier information | Battery Internal Discharge per year | 1300 | mAh/y
Energy Consumption | Consumers Information |  |  | Consumers Ratings
Charge Flow over 2 Years
supplier info or measurement | MicroProcessor Active Mode | 50 | mA | MicroProcessor Active per Hour | 0.33333 | min
supplier info or measurement | MicroProcessor Sleep Mode | 6 | mA | MicroProcessor Sleep Mode per Hour | 59.6667 | min
supplier info or measurement | Transceiver | 80 | mA | Transceiver Acitve per Hour | 0.02 | min
your oown code | MicroProcessor Active Period | 1 | Sec | MicroProcessor Active Period Consumption per Hour | 0.27778 | mAh
supplier info or measurement | Transceiver Active Period | 0.06 | Sec | MicroProcessor Sleep Mode Consumption per Hour | 5.9667 | mAh
|  |  |  | Transceiver Active Period Consumption per Hour | 0.026667 | mAh
|  |  |  | Battery Internal Discharge per Hour | 0.1484 | mAh
your oown code | Active Cycles per Hour | 20 | pH
|  |  |  | Total Consumption per Hour | 6.4195 | mAh
|  |  |  | Total Consumption per Day | 154.0683 | mAh
|  |  |  | Total Consumption per Month | 4622.0493 | mAh
|  |  |  | Total Consumption per Year | 56273.4504 | mAh
|  |  |  | Total Consumption per Hour | 23.7522 | mWh
|  |  |  | Total Consumption per Day | 570.0527 | mWh
|  |  |  | Total Consumption per Month | 17101.5825 | mWh
|  |  |  | Total Consumption per Year | 208211.7665 | mWh
|  |  |  | Maximum Runtime on Battery Charge in Hours | 358.2826 | h
|  |  |  | Total Runtime on Battery in Days | 14.9284 | Tage
Additional Information:
|  |  |  | Duty Cycle of the Tranceiver | 0.033333 | %
|  |  |  | Tranceiver Use per Day (TTN Fair Use is 30 Sec per Day) | 28.8 | Sek
Weather Variation | Variation Simulation |  |  | Consumption Equivalent in Days
estimate from your own perceptions | Energy for no Charge Days per month | 0 | mAh | Consumption Equivalent with no Charge | 0 | Days
Over all uncertainties estimate | Uncertainty , degradation, etc | 44 | %

## 1 Pan - 2021 Data
What size is right?
How much Energy can I expect?
Dimension a small Solar Generator
see YouTube Tutorial!
Sceanrio:
Actual 2021 Data with 1 Solar Cell | Inputs |  |  | Results w/o Solar Charge | [5 empty] | Results with Solar Charge | [5 empty] | Calculation
[18 empty] | Charge Var pm | 0 | mAh equals |  | days of not expected irregular weather per month
Power Generation | Solar Panel Information | [5 empty] | Solar Panel Rating
[13 empty] | Opt. Panel |  | My Panel | My Panel | My total | My Charge |  |  | My Charge |  |  | My Charge
measure with multimeter | Nominal Voltage | 5 | V | [8 empty] | Month | Max Harvest |  | Harvest | Harvest | Consumption | Flow | Min Flow | Max Flow | State 1 | Min State 1 | Max State 1 | State 2 | Min State 2 | Max State 2
measure with multimeter | Maximum Current in the Sun | 125 | mA |  |  |  | est. Peak Power | 625 | mW |  |  | Month | kWh/kWp | % | mWh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh
measure with multimeter | Solar Panel Area | 44 | cm2 |  |  |  | Good Reference (200W/m2) Comparison | 880 | mW |  |  | 2020-01-31 | 17 | 1.714% | 6120 | 1654.0541 | 3906.0493 | -2251.9953 | -2251.9953 | -2251.9953 | -951.9953 | -951.9953 | -951.9953 | 0 | 0 | 0
[12 empty] | 2020-02-29 | 52 | 5.242% | 18720 | 5059.4595 | 3906.0493 | 1153.4101 | 1153.4101 | 1153.4101 | 201.4149 | 201.4149 | 201.4149 | 201.4149 | 201.4149 | 201.4149
[12 empty] | 2020-03-31 | 94 | 9.476% | 33840 | 9145.9459 | 3906.0493 | 5239.8966 | 5239.8966 | 5239.8966 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2020-04-30 | 114 | 11.49% | 41040 | 11091.8919 | 3906.0493 | 7185.8426 | 7185.8426 | 7185.8426 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Latitude, Country | Solar Country Conditions | [5 empty] | Solar Country Conditions |  |  |  |  | 2020-05-31 | 118 | 11.9% | 42480 | 11481.0811 | 3906.0493 | 7575.0318 | 7575.0318 | 7575.0318 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
see Internet: | [11 empty] | 2020-06-30 | 133 | 13.41% | 47880 | 12940.5405 | 3906.0493 | 9034.4912 | 9034.4912 | 9034.4912 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Solar Monthly Harvesting | Monthly Yield in kWh per kWp | [10 empty] | 2020-07-31 | 119 | 12% | 42840 | 11578.3784 | 3906.0493 | 7672.3291 | 7672.3291 | 7672.3291 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWh per kWp | Jan | 17 | kWh/kWp | [8 empty] | 2020-08-31 | 105 | 10.58% | 37800 | 10216.2162 | 3906.0493 | 6310.1669 | 6310.1669 | 6310.1669 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWp = Kilowattpeak | Feb | 52 | kWh/kWp | [8 empty] | 2020-09-30 | 111 | 11.19% | 39960 | 10800 | 3906.0493 | 6893.9507 | 6893.9507 | 6893.9507 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Mar | 94 | kWh/kWp | [8 empty] | 2020-10-31 | 79 | 7.964% | 28440 | 7686.4865 | 3906.0493 | 3780.4372 | 3780.4372 | 3780.4372 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Apr | 114 | kWh/kWp | [8 empty] | 2020-11-30 | 28 | 2.823% | 10080 | 2724.3243 | 3906.0493 | -1181.725 | -1181.725 | -1181.725 | 1118.275 | 1118.275 | 1118.275 | 1118.275 | 1118.275 | 1118.275
| Mai | 118 | kWh/kWp | [8 empty] | 2020-12-31 | 22 | 2.218% | 7920 | 2140.5405 | 3906.0493 | -1765.5088 | -1765.5088 | -1765.5088 | -647.2338 | -647.2338 | -647.2338 | 0 | 0 | 0
| Jun | 133 | kWh/kWp | [8 empty] | 2021-01-31 | 17 | 1.714% | 6120 | 1654.0541 | 3906.0493 | -2251.9953 | -2251.9953 | -2251.9953 | -2899.229 | -2899.229 | -2899.229 | 0 | 0 | 0
| Jul | 119 | kWh/kWp | [8 empty] | 2021-02-28 | 52 | 5.242% | 18720 | 5059.4595 | 3906.0493 | 1153.4101 | 1153.4101 | 1153.4101 | -1745.8189 | -1745.8189 | -1745.8189 | 0 | 0 | 0
| Aug | 105 | kWh/kWp | [8 empty] | 2021-03-31 | 94 | 9.476% | 33840 | 9145.9459 | 3906.0493 | 5239.8966 | 5239.8966 | 5239.8966 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Sep | 111 | kWh/kWp | [8 empty] | 2021-04-30 | 114 | 11.49% | 41040 | 11091.8919 | 3906.0493 | 7185.8426 | 7185.8426 | 7185.8426 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Okt | 79 | kWh/kWp | [8 empty] | 2021-05-31 | 118 | 11.9% | 42480 | 11481.0811 | 3906.0493 | 7575.0318 | 7575.0318 | 7575.0318 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Nov | 28 | kWh/kWp | [8 empty] | 2021-06-30 | 133 | 13.41% | 47880 | 12940.5405 | 3906.0493 | 9034.4912 | 9034.4912 | 9034.4912 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Dez | 22 | kWh/kWp | [8 empty] | 2021-07-31 | 119 | 12% | 42840 | 11578.3784 | 3906.0493 | 7672.3291 | 7672.3291 | 7672.3291 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-08-31 | 105 | 10.58% | 37800 | 10216.2162 | 3906.0493 | 6310.1669 | 6310.1669 | 6310.1669 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Total | 992 | kWh/kWp | [8 empty] | 2021-09-30 | 111 | 11.19% | 39960 | 10800 | 3906.0493 | 6893.9507 | 6893.9507 | 6893.9507 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-10-31 | 79 | 7.964% | 28440 | 7686.4865 | 3906.0493 | 3780.4372 | 3780.4372 | 3780.4372 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-11-30 | 28 | 2.823% | 10080 | 2724.3243 | 3906.0493 | -1181.725 | -1181.725 | -1181.725 | 1118.275 | 1118.275 | 1118.275 | 1118.275 | 1118.275 | 1118.275
[12 empty] | 2021-12-31 | 22 | 2.218% | 7920 | 2140.5405 | 3906.0493 | -1765.5088 | -1765.5088 | -1765.5088 | -647.2338 | -647.2338 | -647.2338 | 0 | 0 | 0
Local Circumstances | Schading from Obstacles | [5 empty] | Schading from Obstacles |  |  |  | Battery State of Charge over 2 Years
see Site: | Shading (0% = total, 100% = no shading) | 72% |  |  |  |  | Energy Harvest possible at Location | 72%
https://www.sonnenverlauf.de | [6 empty] | Energy Harvest lost by Shading at Location | 28%
check sunrise and sunset directions
etimate shading for worst month
Converter | Charge Converter Information | [5 empty] | Charge Converter Rating
supplier informatin or estimate | Efficiency (typically > 0,8) | 0.8 |  |  |  |  | Maximum Loss | 125 | mW
Energy Storage | Battery Information | Li Ion |  | Battery Rating
supplier information | Voltage | 3.7 | V | Energy | 8510 | mWh
supplier information | Capacity | 2300 | mAh | Internal Discharge Current | 0.1484 | mA
your choice | Initial Battery Charge | 1300 | mAh
supplier information | Battery Internal Discharge per year | 1300 | mAh/y
Energy Consumption | Consumers Information |  |  | Consumers Ratings
Charge Flow over 2 Years
supplier info or measurement | MicroProcessor Active Mode | 50 | mA | MicroProcessor Active per Hour | 0.33333 | min
supplier info or measurement | MicroProcessor Sleep Mode | 5 | mA | MicroProcessor Sleep Mode per Hour | 59.6667 | min
supplier info or measurement | Transceiver | 80 | mA | Transceiver Acitve per Hour | 0.02 | min
your oown code | MicroProcessor Active Period | 1 | Sec | MicroProcessor Active Period Consumption per Hour | 0.27778 | mAh
supplier info or measurement | Transceiver Active Period | 0.06 | Sec | MicroProcessor Sleep Mode Consumption per Hour | 4.9722 | mAh
|  |  |  | Transceiver Active Period Consumption per Hour | 0.026667 | mAh
|  |  |  | Battery Internal Discharge per Hour | 0.1484 | mAh
your oown code | Active Cycles per Hour | 20 | pH
|  |  |  | Total Consumption per Hour | 5.4251 | mAh
|  |  |  | Total Consumption per Day | 130.2016 | mAh
|  |  |  | Total Consumption per Month | 3906.0493 | mAh
|  |  |  | Total Consumption per Year | 47556.1504 | mAh
|  |  |  | Total Consumption per Hour | 20.0728 | mWh
|  |  |  | Total Consumption per Day | 481.7461 | mWh
|  |  |  | Total Consumption per Month | 14452.3825 | mWh
|  |  |  | Total Consumption per Year | 175957.7565 | mWh
|  |  |  | Maximum Runtime on Battery Charge in Hours | 423.9578 | h
|  |  |  | Total Runtime on Battery in Days | 17.6649 | Tage
Additional Information:
|  |  |  | Duty Cycle of the Tranceiver | 0.033333 | %
|  |  |  | Tranceiver Use per Day (TTN Fair Use is 30 Sec per Day) | 28.8 | Sek
Weather Variation | Variation Simulation |  |  | Consumption Equivalent in Days
estimate from your own perceptions | Energy for no Charge Days per month | 0 | mAh | Consumption Equivalent with no Charge | 0 | Days
Over all uncertainties estimate | Uncertainty , degradation, etc | 0 | %

## 2 Pan - 2021 Data
What size is right?
How much Energy can I expect?
Dimension a small Solar Generator
see YouTube Tutorial!
Sceanrio:
Actual 2021 Data with 2 Solar Cell | Inputs |  |  | Results w/o Solar Charge | [5 empty] | Results with Solar Charge | [5 empty] | Calculation
[18 empty] | Charge Var pm | 0 | mAh equals |  | days of not expected irregular weather per month
Power Generation | Solar Panel Information | [5 empty] | Solar Panel Rating
[13 empty] | Opt. Panel |  | My Panel | My Panel | My total | My Charge |  |  | My Charge |  |  | My Charge
measure with multimeter | Nominal Voltage | 5 | V | [8 empty] | Month | Max Harvest |  | Harvest | Harvest | Consumption | Flow | Min Flow | Max Flow | State 1 | Min State 1 | Max State 1 | State 2 | Min State 2 | Max State 2
measure with multimeter | Maximum Current in the Sun | 250 | mA |  |  |  | est. Peak Power | 1250 | mW |  |  | Month | kWh/kWp | % | mWh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh
measure with multimeter | Solar Panel Area | 88 | cm2 |  |  |  | Good Reference (200W/m2) Comparison | 1760 | mW |  |  | 2020-01-31 | 17 | 1.715% | 12240 | 3308.1081 | 3906.0493 | -597.9412 | -597.9412 | -597.9412 | 1402.0588 | 1402.0588 | 1402.0588 | 1402.0588 | 1402.0588 | 1402.0588
[12 empty] | 2020-02-29 | 52 | 5.247% | 37440 | 10118.9189 | 3906.0493 | 6212.8696 | 6212.8696 | 6212.8696 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2020-03-31 | 94 | 9.485% | 67680 | 18291.8919 | 3906.0493 | 14385.8426 | 14385.8426 | 14385.8426 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2020-04-30 | 114 | 11.5% | 82080 | 22183.7838 | 3906.0493 | 18277.7345 | 18277.7345 | 18277.7345 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Latitude, Country | Solar Country Conditions | [5 empty] | Solar Country Conditions |  |  |  |  | 2020-05-31 | 118 | 11.91% | 84960 | 22962.1622 | 3906.0493 | 19056.1128 | 19056.1128 | 19056.1128 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
see Internet: | [11 empty] | 2020-06-30 | 133 | 13.42% | 95760 | 25881.0811 | 3906.0493 | 21975.0318 | 21975.0318 | 21975.0318 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Solar Monthly Harvesting | Monthly Yield in kWh per kWp | [10 empty] | 2020-07-31 | 119 | 12.01% | 85680 | 23156.7568 | 3906.0493 | 19250.7074 | 19250.7074 | 19250.7074 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWh per kWp | Jan | 17 | kWh/kWp | [8 empty] | 2020-08-31 | 105 | 10.6% | 75600 | 20432.4324 | 3906.0493 | 16526.3831 | 16526.3831 | 16526.3831 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWp = Kilowattpeak | Feb | 52 | kWh/kWp | [8 empty] | 2020-09-30 | 111 | 11.2% | 79920 | 21600 | 3906.0493 | 17693.9507 | 17693.9507 | 17693.9507 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Mar | 94 | kWh/kWp | [8 empty] | 2020-10-31 | 79 | 7.972% | 56880 | 15372.973 | 3906.0493 | 11466.9237 | 11466.9237 | 11466.9237 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Apr | 114 | kWh/kWp | [8 empty] | 2020-11-30 | 28 | 2.825% | 20160 | 5448.6486 | 3906.0493 | 1542.5993 | 1542.5993 | 1542.5993 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Mai | 118 | kWh/kWp | [8 empty] | 2020-12-31 | 21 | 2.119% | 15120 | 4086.4865 | 3906.0493 | 180.4372 | 180.4372 | 180.4372 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Jun | 133 | kWh/kWp | [8 empty] | 2021-01-31 | 17 | 1.715% | 12240 | 3308.1081 | 3906.0493 | -597.9412 | -597.9412 | -597.9412 | 1702.0588 | 1702.0588 | 1702.0588 | 1702.0588 | 1702.0588 | 1702.0588
| Jul | 119 | kWh/kWp | [8 empty] | 2021-02-28 | 52 | 5.247% | 37440 | 10118.9189 | 3906.0493 | 6212.8696 | 6212.8696 | 6212.8696 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Aug | 105 | kWh/kWp | [8 empty] | 2021-03-31 | 94 | 9.485% | 67680 | 18291.8919 | 3906.0493 | 14385.8426 | 14385.8426 | 14385.8426 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Sep | 111 | kWh/kWp | [8 empty] | 2021-04-30 | 114 | 11.5% | 82080 | 22183.7838 | 3906.0493 | 18277.7345 | 18277.7345 | 18277.7345 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Okt | 79 | kWh/kWp | [8 empty] | 2021-05-31 | 118 | 11.91% | 84960 | 22962.1622 | 3906.0493 | 19056.1128 | 19056.1128 | 19056.1128 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Nov | 28 | kWh/kWp | [8 empty] | 2021-06-30 | 133 | 13.42% | 95760 | 25881.0811 | 3906.0493 | 21975.0318 | 21975.0318 | 21975.0318 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Dez | 21 | kWh/kWp | [8 empty] | 2021-07-31 | 119 | 12.01% | 85680 | 23156.7568 | 3906.0493 | 19250.7074 | 19250.7074 | 19250.7074 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-08-31 | 105 | 10.6% | 75600 | 20432.4324 | 3906.0493 | 16526.3831 | 16526.3831 | 16526.3831 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Total | 991 | kWh/kWp | [8 empty] | 2021-09-30 | 111 | 11.2% | 79920 | 21600 | 3906.0493 | 17693.9507 | 17693.9507 | 17693.9507 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-10-31 | 79 | 7.972% | 56880 | 15372.973 | 3906.0493 | 11466.9237 | 11466.9237 | 11466.9237 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-11-30 | 28 | 2.825% | 20160 | 5448.6486 | 3906.0493 | 1542.5993 | 1542.5993 | 1542.5993 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-12-31 | 21 | 2.119% | 15120 | 4086.4865 | 3906.0493 | 180.4372 | 180.4372 | 180.4372 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Local Circumstances | Schading from Obstacles | [5 empty] | Schading from Obstacles |  |  |  | Battery State of Charge over 2 Years
see Site: | Shading (0% = total, 100% = no shading) | 72% |  |  |  |  | Energy Harvest possible at Location | 72%
https://www.sonnenverlauf.de | [6 empty] | Energy Harvest lost by Shading at Location | 28%
check sunrise and sunset directions
etimate shading for worst month
Converter | Charge Converter Information | [5 empty] | Charge Converter Rating
supplier informatin or estimate | Efficiency (typically > 0,8) | 0.8 |  |  |  |  | Maximum Loss | 250 | mW
Energy Storage | Battery Information | Li Ion |  | Battery Rating
supplier information | Voltage | 3.7 | V | Energy | 8510 | mWh
supplier information | Capacity | 2300 | mAh | Internal Discharge Current | 0.1484 | mA
your choice | Initial Battery Charge | 2000 | mAh
supplier information | Battery Internal Discharge per year | 1300 | mAh/y
Energy Consumption | Consumers Information |  |  | Consumers Ratings
Charge Flow over 2 Years
supplier info or measurement | MicroProcessor Active Mode | 50 | mA | MicroProcessor Active per Hour | 0.33333 | min
supplier info or measurement | MicroProcessor Sleep Mode | 5 | mA | MicroProcessor Sleep Mode per Hour | 59.6667 | min
supplier info or measurement | Transceiver | 80 | mA | Transceiver Acitve per Hour | 0.02 | min
your oown code | MicroProcessor Active Period | 1 | Sec | MicroProcessor Active Period Consumption per Hour | 0.27778 | mAh
supplier info or measurement | Transceiver Active Period | 0.06 | Sec | MicroProcessor Sleep Mode Consumption per Hour | 4.9722 | mAh
|  |  |  | Transceiver Active Period Consumption per Hour | 0.026667 | mAh
|  |  |  | Battery Internal Discharge per Hour | 0.1484 | mAh
your oown code | Active Cycles per Hour | 20 | pH
|  |  |  | Total Consumption per Hour | 5.4251 | mAh
|  |  |  | Total Consumption per Day | 130.2016 | mAh
|  |  |  | Total Consumption per Month | 3906.0493 | mAh
|  |  |  | Total Consumption per Year | 47556.1504 | mAh
|  |  |  | Total Consumption per Hour | 20.0728 | mWh
|  |  |  | Total Consumption per Day | 481.7461 | mWh
|  |  |  | Total Consumption per Month | 14452.3825 | mWh
|  |  |  | Total Consumption per Year | 175957.7565 | mWh
|  |  |  | Maximum Runtime on Battery Charge in Hours | 423.9578 | h
|  |  |  | Total Runtime on Battery in Days | 17.6649 | Tage
Additional Information:
|  |  |  | Duty Cycle of the Tranceiver | 0.033333 | %
|  |  |  | Tranceiver Use per Day (TTN Fair Use is 30 Sec per Day) | 28.8 | Sek
Weather Variation | Variation Simulation |  |  | Consumption Equivalent in Days
estimate from your own perceptions | Energy for no Charge Days per month | 0 | mAh | Consumption Equivalent with no Charge | 0 | Days
Over all uncertainties estimate | Uncertainty , degradation, etc | 0 | %

## 2 Pan - 30% Unc - 2021 Dat
What size is right?
How much Energy can I expect?
Dimension a small Solar Generator
see YouTube Tutorial!
Sceanrio:
Actual 2021 Data with 2 Solar Cell | Inputs |  |  | Results w/o Solar Charge | [5 empty] | Results with Solar Charge | [5 empty] | Calculation
[18 empty] | Charge Var pm | 0 | mAh equals |  | days of not expected irregular weather per month
Power Generation | Solar Panel Information | [5 empty] | Solar Panel Rating
[13 empty] | Opt. Panel |  | My Panel | My Panel | My total | My Charge |  |  | My Charge |  |  | My Charge
measure with multimeter | Nominal Voltage | 5 | V | [8 empty] | Month | Max Harvest |  | Harvest | Harvest | Consumption | Flow | Min Flow | Max Flow | State 1 | Min State 1 | Max State 1 | State 2 | Min State 2 | Max State 2
measure with multimeter | Maximum Current in the Sun | 250 | mA |  |  |  | est. Peak Power | 1250 | mW |  |  | Month | kWh/kWp | % | mWh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh
measure with multimeter | Solar Panel Area | 88 | cm2 |  |  |  | Good Reference (200W/m2) Comparison | 1760 | mW |  |  | 2020-01-31 | 17 | 1.715% | 12240 | 3308.1081 | 3906.0493 | -597.9412 | -1590.3736 | 394.4912 | 1402.0588 | 409.6264 | 2300 | 1402.0588 | 409.6264 | 2300
[12 empty] | 2020-02-29 | 52 | 5.247% | 37440 | 10118.9189 | 3906.0493 | 6212.8696 | 3177.1939 | 9248.5453 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2020-03-31 | 94 | 9.485% | 67680 | 18291.8919 | 3906.0493 | 14385.8426 | 8898.275 | 19873.4101 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2020-04-30 | 114 | 11.5% | 82080 | 22183.7838 | 3906.0493 | 18277.7345 | 11622.5993 | 24932.8696 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Latitude, Country | Solar Country Conditions | [5 empty] | Solar Country Conditions |  |  |  |  | 2020-05-31 | 118 | 11.91% | 84960 | 22962.1622 | 3906.0493 | 19056.1128 | 12167.4642 | 25944.7615 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
see Internet: | [11 empty] | 2020-06-30 | 133 | 13.42% | 95760 | 25881.0811 | 3906.0493 | 21975.0318 | 14210.7074 | 29739.3561 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
Solar Monthly Harvesting | Monthly Yield in kWh per kWp | [10 empty] | 2020-07-31 | 119 | 12.01% | 85680 | 23156.7568 | 3906.0493 | 19250.7074 | 12303.6804 | 26197.7345 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWh per kWp | Jan | 17 | kWh/kWp | [8 empty] | 2020-08-31 | 105 | 10.6% | 75600 | 20432.4324 | 3906.0493 | 16526.3831 | 10396.6534 | 22656.1128 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWp = Kilowattpeak | Feb | 52 | kWh/kWp | [8 empty] | 2020-09-30 | 111 | 11.2% | 79920 | 21600 | 3906.0493 | 17693.9507 | 11213.9507 | 24173.9507 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Mar | 94 | kWh/kWp | [8 empty] | 2020-10-31 | 79 | 7.972% | 56880 | 15372.973 | 3906.0493 | 11466.9237 | 6855.0318 | 16078.8155 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Apr | 114 | kWh/kWp | [8 empty] | 2020-11-30 | 28 | 2.825% | 20160 | 5448.6486 | 3906.0493 | 1542.5993 | -91.9953 | 3177.1939 | 2300 | 2208.0047 | 2300 | 2300 | 2208.0047 | 2300
| Mai | 118 | kWh/kWp | [8 empty] | 2020-12-31 | 21 | 2.119% | 15120 | 4086.4865 | 3906.0493 | 180.4372 | -1045.5088 | 1406.3831 | 2300 | 1162.496 | 2300 | 2300 | 1162.496 | 2300
| Jun | 133 | kWh/kWp | [8 empty] | 2021-01-31 | 17 | 1.715% | 12240 | 3308.1081 | 3906.0493 | -597.9412 | -1590.3736 | 394.4912 | 1702.0588 | -427.8777 | 2300 | 1702.0588 | 0 | 2300
| Jul | 119 | kWh/kWp | [8 empty] | 2021-02-28 | 52 | 5.247% | 37440 | 10118.9189 | 3906.0493 | 6212.8696 | 3177.1939 | 9248.5453 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Aug | 105 | kWh/kWp | [8 empty] | 2021-03-31 | 94 | 9.485% | 67680 | 18291.8919 | 3906.0493 | 14385.8426 | 8898.275 | 19873.4101 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Sep | 111 | kWh/kWp | [8 empty] | 2021-04-30 | 114 | 11.5% | 82080 | 22183.7838 | 3906.0493 | 18277.7345 | 11622.5993 | 24932.8696 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Okt | 79 | kWh/kWp | [8 empty] | 2021-05-31 | 118 | 11.91% | 84960 | 22962.1622 | 3906.0493 | 19056.1128 | 12167.4642 | 25944.7615 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Nov | 28 | kWh/kWp | [8 empty] | 2021-06-30 | 133 | 13.42% | 95760 | 25881.0811 | 3906.0493 | 21975.0318 | 14210.7074 | 29739.3561 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Dez | 21 | kWh/kWp | [8 empty] | 2021-07-31 | 119 | 12.01% | 85680 | 23156.7568 | 3906.0493 | 19250.7074 | 12303.6804 | 26197.7345 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-08-31 | 105 | 10.6% | 75600 | 20432.4324 | 3906.0493 | 16526.3831 | 10396.6534 | 22656.1128 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Total | 991 | kWh/kWp | [8 empty] | 2021-09-30 | 111 | 11.2% | 79920 | 21600 | 3906.0493 | 17693.9507 | 11213.9507 | 24173.9507 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-10-31 | 79 | 7.972% | 56880 | 15372.973 | 3906.0493 | 11466.9237 | 6855.0318 | 16078.8155 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-11-30 | 28 | 2.825% | 20160 | 5448.6486 | 3906.0493 | 1542.5993 | -91.9953 | 3177.1939 | 2300 | 2208.0047 | 2300 | 2300 | 2208.0047 | 2300
[12 empty] | 2021-12-31 | 21 | 2.119% | 15120 | 4086.4865 | 3906.0493 | 180.4372 | -1045.5088 | 1406.3831 | 2300 | 1162.496 | 2300 | 2300 | 1162.496 | 2300
Local Circumstances | Schading from Obstacles | [5 empty] | Schading from Obstacles |  |  |  | Battery State of Charge over 2 Years
see Site: | Shading (0% = total, 100% = no shading) | 72% |  |  |  |  | Energy Harvest possible at Location | 72%
https://www.sonnenverlauf.de | [6 empty] | Energy Harvest lost by Shading at Location | 28%
check sunrise and sunset directions
etimate shading for worst month
Converter | Charge Converter Information | [5 empty] | Charge Converter Rating
supplier informatin or estimate | Efficiency (typically > 0,8) | 0.8 |  |  |  |  | Maximum Loss | 250 | mW
Energy Storage | Battery Information | Li Ion |  | Battery Rating
supplier information | Voltage | 3.7 | V | Energy | 8510 | mWh
supplier information | Capacity | 2300 | mAh | Internal Discharge Current | 0.1484 | mA
your choice | Initial Battery Charge | 2000 | mAh
supplier information | Battery Internal Discharge per year | 1300 | mAh/y
Energy Consumption | Consumers Information |  |  | Consumers Ratings
Charge Flow over 2 Years
supplier info or measurement | MicroProcessor Active Mode | 50 | mA | MicroProcessor Active per Hour | 0.33333 | min
supplier info or measurement | MicroProcessor Sleep Mode | 5 | mA | MicroProcessor Sleep Mode per Hour | 59.6667 | min
supplier info or measurement | Transceiver | 80 | mA | Transceiver Acitve per Hour | 0.02 | min
your oown code | MicroProcessor Active Period | 1 | Sec | MicroProcessor Active Period Consumption per Hour | 0.27778 | mAh
supplier info or measurement | Transceiver Active Period | 0.06 | Sec | MicroProcessor Sleep Mode Consumption per Hour | 4.9722 | mAh
|  |  |  | Transceiver Active Period Consumption per Hour | 0.026667 | mAh
|  |  |  | Battery Internal Discharge per Hour | 0.1484 | mAh
your oown code | Active Cycles per Hour | 20 | pH
|  |  |  | Total Consumption per Hour | 5.4251 | mAh
|  |  |  | Total Consumption per Day | 130.2016 | mAh
|  |  |  | Total Consumption per Month | 3906.0493 | mAh
|  |  |  | Total Consumption per Year | 47556.1504 | mAh
|  |  |  | Total Consumption per Hour | 20.0728 | mWh
|  |  |  | Total Consumption per Day | 481.7461 | mWh
|  |  |  | Total Consumption per Month | 14452.3825 | mWh
|  |  |  | Total Consumption per Year | 175957.7565 | mWh
|  |  |  | Maximum Runtime on Battery Charge in Hours | 423.9578 | h
|  |  |  | Total Runtime on Battery in Days | 17.6649 | Tage
Additional Information:
|  |  |  | Duty Cycle of the Tranceiver | 0.033333 | %
|  |  |  | Tranceiver Use per Day (TTN Fair Use is 30 Sec per Day) | 28.8 | Sek
Weather Variation | Variation Simulation |  |  | Consumption Equivalent in Days
estimate from your own perceptions | Energy for no Charge Days per month | 0 | mAh | Consumption Equivalent with no Charge | 0 | Days
Over all uncertainties estimate | Uncertainty , degradation, etc | 30 | %

## 2 Bat - 2 Pan - 30% Unc - 2021
What size is right?
How much Energy can I expect?
Dimension a small Solar Generator
see YouTube Tutorial!
Sceanrio:
Actual 2021 Data with 2 Solar Cell 2 Batt | Inputs |  |  | Results w/o Solar Charge | [5 empty] | Results with Solar Charge | [5 empty] | Calculation
[18 empty] | Charge Var pm | 0 | mAh equals |  | days of not expected irregular weather per month
Power Generation | Solar Panel Information | [5 empty] | Solar Panel Rating
[13 empty] | Opt. Panel |  | My Panel | My Panel | My total | My Charge |  |  | My Charge |  |  | My Charge
measure with multimeter | Nominal Voltage | 5 | V | [8 empty] | Month | Max Harvest |  | Harvest | Harvest | Consumption | Flow | Min Flow | Max Flow | State 1 | Min State 1 | Max State 1 | State 2 | Min State 2 | Max State 2
measure with multimeter | Maximum Current in the Sun | 250 | mA |  |  |  | est. Peak Power | 1250 | mW |  |  | Month | kWh/kWp | % | mWh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh
measure with multimeter | Solar Panel Area | 88 | cm2 |  |  |  | Good Reference (200W/m2) Comparison | 1760 | mW |  |  | 2020-01-31 | 17 | 1.714% | 12240 | 3308.1081 | 4012.8986 | -704.7905 | -1697.223 | 287.6419 | 3295.2095 | 2302.777 | 4287.6419 | 3295.2095 | 2302.777 | 4287.6419
[12 empty] | 2020-02-29 | 52 | 5.242% | 37440 | 10118.9189 | 4012.8986 | 6106.0203 | 3070.3446 | 9141.696 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
[12 empty] | 2020-03-31 | 94 | 9.476% | 67680 | 18291.8919 | 4012.8986 | 14278.9933 | 8791.4257 | 19766.5608 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
[12 empty] | 2020-04-30 | 114 | 11.49% | 82080 | 22183.7838 | 4012.8986 | 18170.8852 | 11515.75 | 24826.0203 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
Latitude, Country | Solar Country Conditions | [5 empty] | Solar Country Conditions |  |  |  |  | 2020-05-31 | 118 | 11.9% | 84960 | 22962.1622 | 4012.8986 | 18949.2635 | 12060.6149 | 25837.9122 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
see Internet: | [11 empty] | 2020-06-30 | 133 | 13.41% | 95760 | 25881.0811 | 4012.8986 | 21868.1825 | 14103.8581 | 29632.5068 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
Solar Monthly Harvesting | Monthly Yield in kWh per kWp | [10 empty] | 2020-07-31 | 119 | 12% | 85680 | 23156.7568 | 4012.8986 | 19143.8581 | 12196.8311 | 26090.8852 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
kWh per kWp | Jan | 17 | kWh/kWp | [8 empty] | 2020-08-31 | 105 | 10.58% | 75600 | 20432.4324 | 4012.8986 | 16419.5338 | 10289.8041 | 22549.2635 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
kWp = Kilowattpeak | Feb | 52 | kWh/kWp | [8 empty] | 2020-09-30 | 111 | 11.19% | 79920 | 21600 | 4012.8986 | 17587.1014 | 11107.1014 | 24067.1014 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
| Mar | 94 | kWh/kWp | [8 empty] | 2020-10-31 | 79 | 7.964% | 56880 | 15372.973 | 4012.8986 | 11360.0743 | 6748.1825 | 15971.9662 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
| Apr | 114 | kWh/kWp | [8 empty] | 2020-11-30 | 28 | 2.823% | 20160 | 5448.6486 | 4012.8986 | 1435.75 | -198.8446 | 3070.3446 | 4600 | 4401.1554 | 4600 | 4600 | 4401.1554 | 4600
| Mai | 118 | kWh/kWp | [8 empty] | 2020-12-31 | 22 | 2.218% | 15840 | 4281.0811 | 4012.8986 | 268.1825 | -1016.1419 | 1552.5068 | 4600 | 3385.0136 | 4600 | 4600 | 3385.0136 | 4600
| Jun | 133 | kWh/kWp | [8 empty] | 2021-01-31 | 17 | 1.714% | 12240 | 3308.1081 | 4012.8986 | -704.7905 | -1697.223 | 287.6419 | 3895.2095 | 1687.7906 | 4600 | 3895.2095 | 1687.7906 | 4600
| Jul | 119 | kWh/kWp | [8 empty] | 2021-02-28 | 52 | 5.242% | 37440 | 10118.9189 | 4012.8986 | 6106.0203 | 3070.3446 | 9141.696 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
| Aug | 105 | kWh/kWp | [8 empty] | 2021-03-31 | 94 | 9.476% | 67680 | 18291.8919 | 4012.8986 | 14278.9933 | 8791.4257 | 19766.5608 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
| Sep | 111 | kWh/kWp | [8 empty] | 2021-04-30 | 114 | 11.49% | 82080 | 22183.7838 | 4012.8986 | 18170.8852 | 11515.75 | 24826.0203 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
| Okt | 79 | kWh/kWp | [8 empty] | 2021-05-31 | 118 | 11.9% | 84960 | 22962.1622 | 4012.8986 | 18949.2635 | 12060.6149 | 25837.9122 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
| Nov | 28 | kWh/kWp | [8 empty] | 2021-06-30 | 133 | 13.41% | 95760 | 25881.0811 | 4012.8986 | 21868.1825 | 14103.8581 | 29632.5068 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
| Dez | 22 | kWh/kWp | [8 empty] | 2021-07-31 | 119 | 12% | 85680 | 23156.7568 | 4012.8986 | 19143.8581 | 12196.8311 | 26090.8852 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
[12 empty] | 2021-08-31 | 105 | 10.58% | 75600 | 20432.4324 | 4012.8986 | 16419.5338 | 10289.8041 | 22549.2635 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
| Total | 992 | kWh/kWp | [8 empty] | 2021-09-30 | 111 | 11.19% | 79920 | 21600 | 4012.8986 | 17587.1014 | 11107.1014 | 24067.1014 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
[12 empty] | 2021-10-31 | 79 | 7.964% | 56880 | 15372.973 | 4012.8986 | 11360.0743 | 6748.1825 | 15971.9662 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
[12 empty] | 2021-11-30 | 28 | 2.823% | 20160 | 5448.6486 | 4012.8986 | 1435.75 | -198.8446 | 3070.3446 | 4600 | 4401.1554 | 4600 | 4600 | 4401.1554 | 4600
[12 empty] | 2021-12-31 | 22 | 2.218% | 15840 | 4281.0811 | 4012.8986 | 268.1825 | -1016.1419 | 1552.5068 | 4600 | 3385.0136 | 4600 | 4600 | 3385.0136 | 4600
Local Circumstances | Schading from Obstacles | [5 empty] | Schading from Obstacles |  |  |  | Battery State of Charge over 2 Years
see Site: | Shading (0% = total, 100% = no shading) | 72% |  |  |  |  | Energy Harvest possible at Location | 72%
https://www.sonnenverlauf.de | [6 empty] | Energy Harvest lost by Shading at Location | 28%
check sunrise and sunset directions
etimate shading for worst month
Converter | Charge Converter Information | [5 empty] | Charge Converter Rating
supplier informatin or estimate | Efficiency (typically > 0,8) | 0.8 |  |  |  |  | Maximum Loss | 250 | mW
Energy Storage | Battery Information | Li Ion |  | Battery Rating
supplier information | Voltage | 3.7 | V | Energy | 17020 | mWh
supplier information | Capacity | 4600 | mAh | Internal Discharge Current | 0.2968 | mA
your choice | Initial Battery Charge | 4000 | mAh
supplier information | Battery Internal Discharge per year | 2600 | mAh/y
Energy Consumption | Consumers Information |  |  | Consumers Ratings
Charge Flow over 2 Years
supplier info or measurement | MicroProcessor Active Mode | 50 | mA | MicroProcessor Active per Hour | 0.33333 | min
supplier info or measurement | MicroProcessor Sleep Mode | 5 | mA | MicroProcessor Sleep Mode per Hour | 59.6667 | min
supplier info or measurement | Transceiver | 80 | mA | Transceiver Acitve per Hour | 0.02 | min
your oown code | MicroProcessor Active Period | 1 | Sec | MicroProcessor Active Period Consumption per Hour | 0.27778 | mAh
supplier info or measurement | Transceiver Active Period | 0.06 | Sec | MicroProcessor Sleep Mode Consumption per Hour | 4.9722 | mAh
|  |  |  | Transceiver Active Period Consumption per Hour | 0.026667 | mAh
|  |  |  | Battery Internal Discharge per Hour | 0.2968 | mAh
your oown code | Active Cycles per Hour | 20 | pH
|  |  |  | Total Consumption per Hour | 5.5735 | mAh
|  |  |  | Total Consumption per Day | 133.7633 | mAh
|  |  |  | Total Consumption per Month | 4012.8986 | mAh
|  |  |  | Total Consumption per Year | 48857.0408 | mAh
|  |  |  | Total Consumption per Hour | 20.6218 | mWh
|  |  |  | Total Consumption per Day | 494.9242 | mWh
|  |  |  | Total Consumption per Month | 14847.7249 | mWh
|  |  |  | Total Consumption per Year | 180771.051 | mWh
|  |  |  | Maximum Runtime on Battery Charge in Hours | 825.3386 | h
|  |  |  | Total Runtime on Battery in Days | 34.3891 | Tage
Additional Information:
|  |  |  | Duty Cycle of the Tranceiver | 0.033333 | %
|  |  |  | Tranceiver Use per Day (TTN Fair Use is 30 Sec per Day) | 28.8 | Sek
Weather Variation | Variation Simulation |  |  | Consumption Equivalent in Days
estimate from your own perceptions | Energy for no Charge Days per month | 0 | mAh | Consumption Equivalent with no Charge | 0 | Days
Over all uncertainties estimate | Uncertainty , degradation, etc | 30 | %

## 1 Pan - 2021 Data Low Power
What size is right?
How much Energy can I expect?
Dimension a small Solar Generator
see YouTube Tutorial!
Sceanrio:
Actual 2021 Data with 1 Solar Cell | Inputs |  |  | Results w/o Solar Charge | [5 empty] | Results with Solar Charge | [5 empty] | Calculation
[18 empty] | Charge Var pm | 0 | mAh equals |  | days of not expected irregular weather per month
Power Generation | Solar Panel Information | [5 empty] | Solar Panel Rating
[13 empty] | Opt. Panel |  | My Panel | My Panel | My total | My Charge |  |  | My Charge |  |  | My Charge
measure with multimeter | Nominal Voltage | 5 | V | [8 empty] | Month | Max Harvest |  | Harvest | Harvest | Consumption | Flow | Min Flow | Max Flow | State 1 | Min State 1 | Max State 1 | State 2 | Min State 2 | Max State 2
measure with multimeter | Maximum Current in the Sun | 125 | mA |  |  |  | est. Peak Power | 625 | mW |  |  | Month | kWh/kWp | % | mWh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh | mAh
measure with multimeter | Solar Panel Area | 44 | cm2 |  |  |  | Good Reference (200W/m2) Comparison | 880 | mW |  |  | 2020-01-31 | 17 | 1.714% | 1105 | 298.6486 | 903.0493 | -604.4007 | -693.9953 | -514.8061 | 395.5993 | 306.0047 | 485.1939 | 395.5993 | 306.0047 | 485.1939
[12 empty] | 2020-02-29 | 52 | 5.242% | 3380 | 913.5135 | 903.0493 | 10.4642 | -263.5899 | 284.5183 | 406.0635 | 42.4149 | 769.7122 | 406.0635 | 42.4149 | 769.7122
[12 empty] | 2020-03-31 | 94 | 9.476% | 6110 | 1651.3514 | 903.0493 | 748.302 | 252.8966 | 1243.7074 | 1154.3656 | 295.3115 | 2013.4196 | 1154.3656 | 295.3115 | 2013.4196
[12 empty] | 2020-04-30 | 114 | 11.49% | 7410 | 2002.7027 | 903.0493 | 1099.6534 | 498.8426 | 1700.4642 | 2254.019 | 794.1541 | 2300 | 2254.019 | 794.1541 | 2300
Latitude, Country | Solar Country Conditions | [5 empty] | Solar Country Conditions |  |  |  |  | 2020-05-31 | 118 | 11.9% | 7670 | 2072.973 | 903.0493 | 1169.9237 | 548.0318 | 1791.8155 | 2300 | 1342.1859 | 2300 | 2300 | 1342.1859 | 2300
see Internet: | [11 empty] | 2020-06-30 | 133 | 13.41% | 8645 | 2336.4865 | 903.0493 | 1433.4372 | 732.4912 | 2134.3831 | 2300 | 2074.6771 | 2300 | 2300 | 2074.6771 | 2300
Solar Monthly Harvesting | Monthly Yield in kWh per kWp | [10 empty] | 2020-07-31 | 119 | 12% | 7735 | 2090.5405 | 903.0493 | 1187.4912 | 560.3291 | 1814.6534 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWh per kWp | Jan | 17 | kWh/kWp | [8 empty] | 2020-08-31 | 105 | 10.58% | 6825 | 1844.5946 | 903.0493 | 941.5453 | 388.1669 | 1494.9237 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
kWp = Kilowattpeak | Feb | 52 | kWh/kWp | [8 empty] | 2020-09-30 | 111 | 11.19% | 7215 | 1950 | 903.0493 | 1046.9507 | 461.9507 | 1631.9507 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Mar | 94 | kWh/kWp | [8 empty] | 2020-10-31 | 79 | 7.964% | 5135 | 1387.8378 | 903.0493 | 484.7885 | 68.4372 | 901.1399 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Apr | 114 | kWh/kWp | [8 empty] | 2020-11-30 | 28 | 2.823% | 1820 | 491.8919 | 903.0493 | -411.1574 | -558.725 | -263.5899 | 1888.8426 | 1741.275 | 2036.4101 | 1888.8426 | 1741.275 | 2036.4101
| Mai | 118 | kWh/kWp | [8 empty] | 2020-12-31 | 22 | 2.218% | 1430 | 386.4865 | 903.0493 | -516.5628 | -632.5088 | -400.6169 | 1372.2797 | 1108.7662 | 1635.7933 | 1372.2797 | 1108.7662 | 1635.7933
| Jun | 133 | kWh/kWp | [8 empty] | 2021-01-31 | 17 | 1.714% | 1105 | 298.6486 | 903.0493 | -604.4007 | -693.9953 | -514.8061 | 767.8791 | 414.771 | 1120.9872 | 767.8791 | 414.771 | 1120.9872
| Jul | 119 | kWh/kWp | [8 empty] | 2021-02-28 | 52 | 5.242% | 3380 | 913.5135 | 903.0493 | 10.4642 | -263.5899 | 284.5183 | 778.3433 | 151.1811 | 1405.5054 | 778.3433 | 151.1811 | 1405.5054
| Aug | 105 | kWh/kWp | [8 empty] | 2021-03-31 | 94 | 9.476% | 6110 | 1651.3514 | 903.0493 | 748.302 | 252.8966 | 1243.7074 | 1526.6453 | 404.0777 | 2300 | 1526.6453 | 404.0777 | 2300
| Sep | 111 | kWh/kWp | [8 empty] | 2021-04-30 | 114 | 11.49% | 7410 | 2002.7027 | 903.0493 | 1099.6534 | 498.8426 | 1700.4642 | 2300 | 902.9203 | 2300 | 2300 | 902.9203 | 2300
| Okt | 79 | kWh/kWp | [8 empty] | 2021-05-31 | 118 | 11.9% | 7670 | 2072.973 | 903.0493 | 1169.9237 | 548.0318 | 1791.8155 | 2300 | 1450.9521 | 2300 | 2300 | 1450.9521 | 2300
| Nov | 28 | kWh/kWp | [8 empty] | 2021-06-30 | 133 | 13.41% | 8645 | 2336.4865 | 903.0493 | 1433.4372 | 732.4912 | 2134.3831 | 2300 | 2183.4433 | 2300 | 2300 | 2183.4433 | 2300
| Dez | 22 | kWh/kWp | [8 empty] | 2021-07-31 | 119 | 12% | 7735 | 2090.5405 | 903.0493 | 1187.4912 | 560.3291 | 1814.6534 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-08-31 | 105 | 10.58% | 6825 | 1844.5946 | 903.0493 | 941.5453 | 388.1669 | 1494.9237 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
| Total | 992 | kWh/kWp | [8 empty] | 2021-09-30 | 111 | 11.19% | 7215 | 1950 | 903.0493 | 1046.9507 | 461.9507 | 1631.9507 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-10-31 | 79 | 7.964% | 5135 | 1387.8378 | 903.0493 | 484.7885 | 68.4372 | 901.1399 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300
[12 empty] | 2021-11-30 | 28 | 2.823% | 1820 | 491.8919 | 903.0493 | -411.1574 | -558.725 | -263.5899 | 1888.8426 | 1741.275 | 2036.4101 | 1888.8426 | 1741.275 | 2036.4101
[12 empty] | 2021-12-31 | 22 | 2.218% | 1430 | 386.4865 | 903.0493 | -516.5628 | -632.5088 | -400.6169 | 1372.2797 | 1108.7662 | 1635.7933 | 1372.2797 | 1108.7662 | 1635.7933
Local Circumstances | Schading from Obstacles | [5 empty] | Schading from Obstacles |  |  |  | Battery State of Charge over 2 Years
see Site: | Shading (0% = total, 100% = no shading) | 13% |  |  |  |  | Energy Harvest possible at Location | 13%
https://www.sonnenverlauf.de | [6 empty] | Energy Harvest lost by Shading at Location | 87%
check sunrise and sunset directions
etimate shading for worst month
Converter | Charge Converter Information | [5 empty] | Charge Converter Rating
supplier informatin or estimate | Efficiency (typically > 0,8) | 0.8 |  |  |  |  | Maximum Loss | 125 | mW
Energy Storage | Battery Information | Li Ion |  | Battery Rating
supplier information | Voltage | 3.7 | V | Energy | 8510 | mWh
supplier information | Capacity | 2300 | mAh | Internal Discharge Current | 0.1484 | mA
your choice | Initial Battery Charge | 1000 | mAh
supplier information | Battery Internal Discharge per year | 1300 | mAh/y
Energy Consumption | Consumers Information |  |  | Consumers Ratings
Charge Flow over 2 Years
supplier info or measurement | MicroProcessor Active Mode | 50 | mA | MicroProcessor Active per Hour | 1 | min
supplier info or measurement | MicroProcessor Sleep Mode | 0.25 | mA | MicroProcessor Sleep Mode per Hour | 59 | min
supplier info or measurement | Transceiver | 80 | mA | Transceiver Acitve per Hour | 0.02 | min
your oown code | MicroProcessor Active Period | 3 | Sec | MicroProcessor Active Period Consumption per Hour | 0.83333 | mAh
supplier info or measurement | Transceiver Active Period | 0.06 | Sec | MicroProcessor Sleep Mode Consumption per Hour | 0.24583 | mAh
|  |  |  | Transceiver Active Period Consumption per Hour | 0.026667 | mAh
|  |  |  | Battery Internal Discharge per Hour | 0.1484 | mAh
your oown code | Active Cycles per Hour | 20 | pH
|  |  |  | Total Consumption per Hour | 1.2542 | mAh
|  |  |  | Total Consumption per Day | 30.1016 | mAh
|  |  |  | Total Consumption per Month | 903.0493 | mAh
|  |  |  | Total Consumption per Year | 10994.6254 | mAh
|  |  |  | Total Consumption per Hour | 4.6407 | mWh
|  |  |  | Total Consumption per Day | 111.3761 | mWh
|  |  |  | Total Consumption per Month | 3341.2825 | mWh
|  |  |  | Total Consumption per Year | 40680.114 | mWh
|  |  |  | Maximum Runtime on Battery Charge in Hours | 1833.7869 | h
|  |  |  | Total Runtime on Battery in Days | 76.4078 | Tage
Additional Information:
|  |  |  | Duty Cycle of the Tranceiver | 0.033333 | %
|  |  |  | Tranceiver Use per Day (TTN Fair Use is 30 Sec per Day) | 28.8 | Sek
Weather Variation | Variation Simulation |  |  | Consumption Equivalent in Days
estimate from your own perceptions | Energy for no Charge Days per month | 0 | mAh | Consumption Equivalent with no Charge | 0 | Days
Over all uncertainties estimate | Uncertainty , degradation, etc | 30 | %

## 2011-2020 Germany Solar Harvest
A sophisticated worst case estimation.
You can do similar for your location
see YouTube Tutorial!
Example for a performant solar generator
South of Germany
kWh per kWp
[13 empty] | Average | Average | Min | Max | Min | Max
|  | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Average | Deviation | Dev % | Min | Max | Dev % | Dev %
Jan |  | 25.7069 | 39.6965 | 16.3495 | 39.6978 | 39.1906 | 34.5559 | 29.039 | 44.9333 | 26.1806 | 51.5646 | 34.6915 | 8.3251 | 24% | 16.3495 | 51.5646 | -52.87% | 48.64%
Feb |  | 50.8583 | 43.8276 | 26.5958 | 68.49 | 55.2087 | 55.6313 | 64.1285 | 31.2565 | 87.2738 | 65.5842 | 54.8855 | 13.4007 | 24.42% | 26.5958 | 87.2738 | -51.54% | 59.01%
Mär |  | 104.6455 | 103.0756 | 73.8211 | 113.3777 | 87.9591 | 75.6006 | 93.4432 | 77.9179 | 97.6889 | 98.8085 | 92.6338 | 11.0473 | 11.93% | 73.8211 | 113.3777 | -20.31% | 22.39%
Apr |  | 130.782 | 86.0407 | 80.1997 | 101.902 | 128.2526 | 101.3603 | 93.2082 | 135.7377 | 107.2149 | 147.2324 | 111.1931 | 19.4465 | 17.49% | 80.1997 | 147.2324 | -27.87% | 32.41%
Mai |  | 129.2794 | 119.9527 | 91.9979 | 109.606 | 103.608 | 112.7566 | 132.4153 | 126.7432 | 101.3777 | 115.8465 | 114.3583 | 10.4891 | 9.172% | 91.9979 | 132.4153 | -19.55% | 15.79%
Jun |  | 96.1608 | 69.5675 | 106.6869 | 136.205 | 121.038 | 110.7551 | 129.4071 | 114.0228 | 134.1937 | 97.0598 | 111.5097 | 15.4636 | 13.87% | 69.5675 | 136.205 | -37.61% | 22.15%
Jul |  | 102.133 | 93.4665 | 147.6149 | 89.7625 | 128.8582 | 122.9885 | 120.4802 | 139.4633 | 120.2465 | 129.3839 | 119.4398 | 14.5915 | 12.22% | 89.7625 | 147.6149 | -24.85% | 23.59%
Aug |  | 120.2368 | 117.5784 | 136.9498 | 102.0031 | 129.681 | 112.9739 | 121.0711 | 117.9308 | 108.5375 | 109.0788 | 117.6041 | 7.5698 | 6.437% | 102.0031 | 136.9498 | -13.27% | 16.45%
Sep |  | 101.4838 | 84.1043 | 71.2821 | 82.7538 | 92.4818 | 131.0589 | 81.386 | 122.8181 | 107.5543 | 102.0446 | 97.6968 | 15.2952 | 15.66% | 71.2821 | 131.0589 | -27.04% | 34.15%
Okt |  | 86.2579 | 66.4307 | 64.0509 | 64.6976 | 52.2886 | 61.3298 | 84.6022 | 86.254 | 71.2518 | 56.4465 | 69.361 | 10.1844 | 14.68% | 52.2886 | 86.2579 | -24.61% | 24.36%
Nov |  | 54.3766 | 36.8987 | 31.0507 | 32.9915 | 57.3939 | 40.7668 | 32.2993 | 43.9632 | 30.1821 | 43.4232 | 40.3346 | 7.6501 | 18.97% | 30.1821 | 57.3939 | -25.17% | 42.29%
Dez |  | 28.5353 | 23.9684 | 55.0763 | 22.9966 | 62.3431 | 44.2108 | 28.0808 | 25.2569 | 44.5329 | 31.507 | 36.6508 | 11.912 | 32.5% | 22.9966 | 62.3431 | -37.25% | 70.1%
Sum | [11 empty] | 1000.3589 |  |  | 727.0464 | 1289.6875
Year |  | 1030.4563 | 884.6074 | 901.6756 | 964.4837 | 1058.3035 | 1003.9886 | 1009.561 | 1066.2976 | 1036.2347 | 1047.9801 | 1000.3589 | 50.062 | 5.004% | 884.6074 | 1066.2976 | -11.57% | 6.592%
Nov-Feb |  | 39.8693 | 36.0978 | 32.2681 | 41.044 | 53.5341 | 43.7912 | 38.3869 | 36.3525 | 47.0424 | 48.0197 | 41.6406 | 5.165 | 12.4% | 32.2681 | 53.5341 | -22.51% | 28.56%
Jan-Feb |  | 38.2826 | 41.762 | 21.4726 | 54.0939 | 47.1996 | 45.0936 | 46.5837 | 38.0949 | 56.7272 | 58.5744 | 44.7885 | 7.9083 | 17.66% | 21.4726 | 58.5744 | -52.06% | 30.78%
Nov-Dez |  | 41.4559 | 30.4335 | 43.0635 | 27.9941 | 59.8685 | 42.4888 | 30.19 | 34.61 | 37.3575 | 37.4651 | 38.4927 | 6.5812 | 17.1% | 27.9941 | 59.8685 | -27.27% | 55.53%

## 2021 Michaels Data
Michaels Data:
Steep Panel Angle
| Stuttgart |  | 7.32 | kWh/kWp | Stuttgart |  | 1 | kWh/kWp |  |  |  |  | Winter optimized
(Summer is uncritical)
| 2021 |  | 2021 |  | 2021 |  | 2021 |  | Simulation |  |  |  | 2021
| plan |  | actual |  | plan |  | actual |  | in Episode 1 |  | act-sim |  | act+20%
Jan | 138 | kWh | 160 | kWh | 18.8525 | kWh | 21.8579 | kWh | 39.6965 | kWh | -17.8385 | kWh | 26.2295 | kWh | act+20%
Feb | 413 | kWh | 406 | kWh | 56.4208 | kWh | 55.4645 | kWh | 43.8276 | kWh | 11.6369 | kWh | 66.5574 | kWh | act+20%
Mär | 619 | kWh | 759 | kWh | 84.5628 | kWh | 103.6885 | kWh | 103.0756 | kWh | 0.61291 | kWh | 103.6885 | kWh
Apr | 757 | kWh | 873 | kWh | 103.4153 | kWh | 119.2623 | kWh | 86.0407 | kWh | 33.2216 | kWh | 119.2623 | kWh
Mai | 757 | kWh | 542 | kWh | 103.4153 | kWh | 74.0437 | kWh | 119.9527 | kWh | -45.909 | kWh | 74.0437 | kWh
Jun | 895 | kWh | 1044 | kWh | 122.2678 | kWh | 142.623 | kWh | 69.5675 | kWh | 73.0555 | kWh | 142.623 | kWh
Jul | 895 | kWh | 930 | kWh | 122.2678 | kWh | 127.0492 | kWh | 93.4665 | kWh | 33.5827 | kWh | 127.0492 | kWh
Aug | 826 | kWh | 767 | kWh | 112.8415 | kWh | 104.7814 | kWh | 117.5784 | kWh | -12.797 | kWh | 104.7814 | kWh
Sep | 688 | kWh | 919 | kWh | 93.9891 | kWh | 125.5464 | kWh | 84.1043 | kWh | 41.4422 | kWh | 125.5464 | kWh
Okt | 415 | kWh | 570 | kWh | 56.694 | kWh | 77.8689 | kWh | 66.4307 | kWh | 11.4382 | kWh | 93.4426 | kWh
Nov | 275 | kWh |  | kWh | 37.5683 | kWh | 0 | kWh | 36.8987 | kWh | -36.8987 | kWh | 45.082 | kWh | act+20%
Dez | 206 | kWh |  | kWh | 28.1421 | kWh | 0 | kWh | 23.9684 | kWh | -23.9684 | kWh | 33.7705 | kWh | act+20%
Sum | 6884 | kWh | 6970 | kWh | 940.4372 | kWh | 952.1858 | kWh | 884.6074 | kWh | 67.5783 | kWh

## 2021 SFV Data Stuttgart
|  |  | Michael | [7 empty] | SFV Data Stuttgart | [6 empty] | 2011-2020
Steep Panel Angle
| Stuttgart |  | 7.32 | kWh/kWp | Stuttgart |  | Stuttgart |  | 1 | kWh/kWp |  |  |  |  | Winter optimized
(Summer is uncritical)
| 2021 |  | 2021 |  | 2021 |  | 2021 |  | 2021 |  | Simulation |  |  |  | 2021 |  |  | Min | Max
| plan |  | actual |  | plan |  | actual |  | actual |  | in Episode 1 |  | act-sim |  | act+20% |  |  | Min | Max
Jan | 138 | kWh | 160 | kWh | 18.8525 | kWh | 21.8579 | kWh | 17 | kWh | 39.6965 | kWh | -22.6965 | kWh | 20.4 | kWh | act+20% | 16.3495 | 51.5646
Feb | 413 | kWh | 406 | kWh | 56.4208 | kWh | 55.4645 | kWh | 52 | kWh | 43.8276 | kWh | 8.1724 | kWh | 62.4 | kWh | act+20% | 26.5958 | 87.2738
Mär | 619 | kWh | 759 | kWh | 84.5628 | kWh | 103.6885 | kWh | 94 | kWh | 103.0756 | kWh | -9.0756 | kWh | 94 | kWh |  | 73.8211 | 113.3777
Apr | 757 | kWh | 873 | kWh | 103.4153 | kWh | 119.2623 | kWh | 114 | kWh | 86.0407 | kWh | 27.9593 | kWh | 114 | kWh |  | 80.1997 | 147.2324
Mai | 757 | kWh | 542 | kWh | 103.4153 | kWh | 74.0437 | kWh | 118 | kWh | 119.9527 | kWh | -1.9527 | kWh | 118 | kWh |  | 91.9979 | 132.4153
Jun | 895 | kWh | 1044 | kWh | 122.2678 | kWh | 142.623 | kWh | 133 | kWh | 69.5675 | kWh | 63.4325 | kWh | 133 | kWh |  | 69.5675 | 136.205
Jul | 895 | kWh | 930 | kWh | 122.2678 | kWh | 127.0492 | kWh | 119 | kWh | 93.4665 | kWh | 25.5335 | kWh | 119 | kWh |  | 89.7625 | 147.6149
Aug | 826 | kWh | 767 | kWh | 112.8415 | kWh | 104.7814 | kWh | 105 | kWh | 117.5784 | kWh | -12.5784 | kWh | 105 | kWh |  | 102.0031 | 136.9498
Sep | 688 | kWh | 919 | kWh | 93.9891 | kWh | 125.5464 | kWh | 111 | kWh | 84.1043 | kWh | 26.8957 | kWh | 111 | kWh |  | 71.2821 | 131.0589
Okt | 415 | kWh | 570 | kWh | 56.694 | kWh | 77.8689 | kWh | 79 | kWh | 66.4307 | kWh | 12.5693 | kWh | 79 | kWh |  | 52.2886 | 86.2579
Nov | 275 | kWh |  | kWh | 37.5683 | kWh | 0 | kWh | 28 | kWh | 36.8987 | kWh | -8.8987 | kWh | 33.6 | kWh | act+20% | 30.1821 | 57.3939
Dez | 206 | kWh |  | kWh | 28.1421 | kWh | 0 | kWh | 22 | kWh | 23.9684 | kWh | -1.9684 | kWh | 26.4 | kWh | act+20% | 22.9966 | 62.3431
Sum | 6884 | kWh | 6970 | kWh | 940.4372 | kWh | 952.1858 | kWh | 992 | kWh | 884.6074 | kWh | 107.3926 | kWh |  |  |  | 727.0464 | 1289.6875